## Slide 1: AEMR Case
Guanhua Lu (Allen)

## Slide 2: Warning Sign: Both The Number of Forced Outage Events and Avg Duration on the rise

## Slide 3: Forced Outage went up by 9% in 2017

## Slide 4: Mar17, a Turning Point for Forced Outage

## Slide 5: Total Outages in 2017 Trending up from March

## Slide 6: What Went WRONG?
Auricon
Trmos
Pug
Notes: All reasons

## Slide 7: Which Suppliers improved?
GW
AUXC
PMC
Notes: GW, AUXC, PMC

## Slide 8: Melk Average Duration Outage More than Double
Notes: All reasons

## Slide 9: Avg Outage Duration went UP, while Avg Loss went Down

## Slide 10: Check out those Outliers
Notes: Forced Reason

## Slide 11: GW & MELK Avg MW Loss, a bit high
Notes: Forced reason

## Slide 12: A few Outliers PMC, COLLGAR, TSLA_MGT
Notes: All forced reasons , b3.2